| Project name: | Reviewed by: |
| --- | --- |
| Work Task: | Version of SWMS |
| Contractor’s Business Name: | ABN: |
| Questions Findings: ( = Satisfactory X = Rectification Req’d N/A = Not applicable. Yes = Y, No = N | Findings |
| Do the safe work method statements (SWMS) contain the following information? |
| Whole package of work covered? Job steps recorded? |  |
| Is it clear who will supervise the work? |  |
| Identifies the safety risks/hazards associated with each job step e.g. falls from heights, noise, mobile plant, tree removal ? |  |
| Describes control to be applied to the hazard/risk at each step of the job including the type of PPE and specific controls e.g. for formwork or excavation? |  |
| Describes equipment used e.g. backhoe, jackhammer, generator, electric drill, scaffolding, extension ladder? |  |
| Includes information about the required maintenance/inspection of equipment e.g. monthly testing & tagging of power leads (AS 3760) |  |
| Makes reference to relevant codes of practice and Australian Standards. e.g. Safe Work on Roofs, Concrete pumping etc. |  |
| Specifies what qualifications are required for personnel to do the work safely e.g. Trade quals, safety certificates, training in SWMS & on the job experience E.g. Site Inductions, Working at Heights, Scheduled work such as Rigging, Scaffolding. |  |
| Addresses induction requirements been addressed e.g. construction and other industry inductions (rail, coal etc.)? |  |
| Does the SWMS specify who is responsible for the work being conducted and the contact details/ emergency/first aid plan are in case of an incident on site? |  |
| Does the SWMS specify the project name and site location specifically? |  |
| If required, approvals & workcover/WH&S licences/Permits e.g. asbestos removal, confined space/demolition should be specified. |  |
| Are environmental issues addressed e.g. disposal of chemicals, arrangements for spills, consideration for noise levels, transport of dangerous goods? |  |
| Has a review been undertaken of electrical hazards |  |
| Have the issues associated with electrical hazards been addressed |  |
| Is electrical isolation required for the work |  |
| If yes to Q16, does the SWMS thoroughly address electrical isolation |  |
| Have issues associated with working in the rail corridor been addressed? |  |
| Have all High Risk Activities been identified |  |
| Have the contractor employees required to action the work acknowledged and signed the SWMS covering the following; Received instruction appropriate to the work Understand the risks and safe work requirements Understand the electrical isolation requirements |  |
| Have the following hazards been addressed? |
| Manual Handling |  | Plant and Equipment |  | Pedestrian Traffic Vehicle Traffic Mobile plant |  |
| Falling Falling objects Work at height |  | Excavation Services |  | Material Delivery Lifts |  |
| Confined Space Hot Work |  | Access |  | Explosive Power tools |  |
| Electrical Gas |  | Asbestos Hazardous Substances MSDS |  | Dust Noise Silt |  |
| Does the SWMS provide details of its name, version and date Is the SWMS acceptable considering the scope of work? Is there evidence on the SWMS to demonstrate the contractor employees have been engaged in its development Does the SWMS indicate compliance with applicable statutory requirements. Answers flagged as NO require remedial work by the contractor. | ( No ( Yes ( No ( Yes ( No ( Yes ( No ( Yes |
| If no is recorded, forward this form to the contractor to advise of required amendments. Comments: |
| Reviewer’s Signature |  | Date |